## MCT_V2_review
image_id | image | gemini-3.1-pro_label | gemini-3.1-pro_confidence | gemini-3.1-pro_evidence | gemini-3.1-flash_label | gemini-3.1-flash_confidence | gemini-3.1-flash_evidence | gpt-4o_label | gpt-4o_confidence | gpt-4o_evidence | my_label | my_evidence | agreement
MCT_301 |  | NOT_DETECTED | 0.95 | Eligible plumbing components including the shutoff valve and braided supply line are covered in dust and lint (severity 0), with no visible raised or crusted oxide buildup. | NOT_DETECTED | 0.9 | The visible plumbing components, including the shutoff valve and supply line, show only surface dust and minor tarnish, which are severity 1-2 conditions. No raised, chalky, or crusted corrosion is present on the eligible components. | NOT_DETECTED | 0.9 | Dust and grime on shutoff valve, no raised corrosion. | NOT_DETECTED | Sev 2: dust/mineral on body; no oxide pigment. | unanimous (0D/3ND)
MCT_302 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the shutoff valve body and supply line connection point, showing raised, chalky green oxide buildup. | NOT_DETECTED | 0.85 | The visible plumbing components, including the shutoff valve and supply line, exhibit surface dust, minor discoloration, and some flat patina, but lack the raised, chalky, or crusted texture required for severity 3 or 4 corrosion. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised, crusted texture. | NOT_DETECTED | Sev 1-2: body clean; staining is on wall/tile. | 1/3 models match me (2D/1ND)
MCT_303 |  | NOT_DETECTED | 0.95 | Eligible plumbing components including the shutoff valve and crimp collars show only flat patina and tarnish (severity 1-2). A minor rust spot is present on the ineligible valve handle, but no severity-3 corrosion is visible on functional plumbing. | NOT_DETECTED | 0.95 | The toilet supply valve and connection show only minor surface discoloration and dust, consistent with severity 1-2, with no evidence of raised, chalky, or crusted corrosion product on the eligible components. | NOT_DETECTED | 0.95 | No raised or crusted corrosion on visible plumbing components. | NOT_DETECTED | Sev 1-2: no oxide pigment on eligible components. | unanimous (0D/3ND)
MCT_304 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the eligible shutoff valve body, showing thick, chalky green verdigris buildup around the packing nut and supply line connection. | DETECTED | 0.95 | The toilet shutoff valve body exhibits severity 3 major corrosion, characterized by visible green oxidation and crusting at the valve body and connection points. While the wall escutcheon is also rusted, the valve body itself shows significant, non-flat corrosion buildup. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and connection point with raised green corrosion. | DETECTED | Sev 3: green verdigris on the angle stop valve body. | unanimous (3D/0ND)
MCT_305 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the eligible shutoff valve body, showing chalky, crusted green oxide buildup covering the majority of the component and its connection points. | DETECTED | 0.95 | The toilet shutoff valve body exhibits severity 3 green corrosion, characterized by visible, chalky, and saturated oxide buildup on the valve body and connection points. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with green crusted buildup. | DETECTED | Sev 3: green verdigris on the angle stop valve body. | unanimous (3D/0ND)
MCT_306 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the stub-out pipe and shutoff valve body, showing thick, crusted green oxide buildup. | DETECTED | 0.95 | The toilet shutoff valve and its connection point exhibit severity 3 major corrosion, characterized by visible, chalky, and saturated green oxide buildup on the valve body and compression nut. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and connection point with raised green corrosion. | DETECTED | Sev 3: bright green verdigris encrustation on the angle stop body where it enters the wall. | unanimous (3D/0ND)
MCT_307 |  | DETECTED | 0.95 | Severity 3/4 corrosion detected on the shutoff valve body and compression nut at the floor, showing crusted buildup and heavy rust staining on the adjacent floor indicating a leak trail. | DETECTED | 0.95 | The toilet shutoff valve body and the compression nut connection show clear evidence of severity 3 major corrosion, characterized by visible, rough, and chalky oxide buildup on the metal surface at the connection point. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised, crusted texture. | NOT_DETECTED | Sev 1-2: angle stop and supply nut are dirty/dusty but not corroded; staining is on grout/tile. | hand-overrides unanimous (3D/0ND)
MCT_308 |  | NOT_DETECTED | 0.85 | The eligible shutoff valve and wall stub-out exhibit a flat green patina (severity 2) but lack the raised, chalky, or crusted oxide buildup required for severity 3. | DETECTED | 0.95 | The toilet shutoff valve and associated compression nut exhibit severity 3 green corrosion, characterized by visible, textured oxide buildup at the connection point. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and connection point, visible green corrosion buildup. | DETECTED | Sev 3: clear green verdigris on the angle stop fitting; bright oxide pigment. | 2/3 models match me (2D/1ND)
MCT_309 |  | NOT_DETECTED | 0.95 | The eligible shutoff valve body and wall pipe are covered in a thick accumulation of dust and hair, not severity-3 corrosion. | DETECTED | 0.95 | The shutoff valve body and the connection point to the supply pipe exhibit severity 3 major corrosion, characterized by thick, chalky, and crusted white/green oxide buildup covering the majority of the valve body and the threaded connection. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and compression nut with raised, crusted texture. | NOT_DETECTED | Sev 1-2: white powdery dust/sealant on the supply line crimp; no oxide pigment. | 1/3 models match me (2D/1ND)
MCT_310 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the eligible shutoff valve body, evidenced by thick, chalky green oxide buildup covering the majority of the component. | DETECTED | 0.95 | The toilet shutoff valve body exhibits significant green oxidation and crusty buildup, which is a severity 3 condition on an eligible plumbing component. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with green buildup. | DETECTED | Sev 3: heavy green verdigris on the angle stop body and connection. | unanimous (3D/0ND)
MCT_311 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the shutoff valve body and supply line connection nut, showing raised, chalky green and white crusty buildup at the connection point. | DETECTED | 0.95 | The shutoff valve body and its connection points exhibit significant, raised, and chalky green corrosion buildup, consistent with severity 3. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and compression nut with green buildup. | DETECTED | Sev 3: clear green verdigris on the angle stop body at the connection nut. | unanimous (3D/0ND)
MCT_312 |  | DETECTED | 0.9 | Severity 3 raised, chalky green corrosion buildup is visible on the shutoff valve body and at the supply line connection point. | DETECTED | 0.95 | The shutoff valve body and the connection point at the supply line show clear evidence of severity 3 green corrosion product, which is chalky and saturated, indicating significant oxidation at a critical connection point. | NOT_DETECTED | 0.95 | Light tarnish on shutoff valve, no raised corrosion. | NOT_DETECTED | Sev 1: angle stop body is clean chrome with no visible oxide pigment. | 1/3 models match me (2D/1ND)
MCT_313 |  | DETECTED | 0.95 | Severity 3 corrosion detected: heavy, crusted red-brown rust on the supply line crimp collars at both ends, and thick green/brown corrosion buildup on the shutoff valve body. | DETECTED | 0.95 | Severity 3 corrosion is present on the supply line connection nut at the shutoff valve, showing visible saturated rust and green corrosion buildup at the connection point. | DETECTED | 0.95 | Severe corrosion on shutoff valve and connection point with raised, crusted texture. | DETECTED | Sev 3-4: heavy orange rust on the angle stop body and supply-line crimp, plus green verdigris on the valve body. | unanimous (3D/0ND)
MCT_314 |  | NOT_DETECTED | 0.95 | Eligible plumbing components including the shutoff valve and supply line show only minor tarnish and white paint residue (severity 1-2). The visible staining and peeling paint are on the adjacent wall and toilet bowl, which are ineligible confusers. | NOT_DETECTED | 0.9 | The visible plumbing components, including the shutoff valve and supply line, show only minor surface discoloration and dust accumulation (severity 1-2). The staining on the wall behind the toilet is not corrosion of the plumbing components themselves. | NOT_DETECTED | 0.95 | Light tarnish on shutoff valve, no raised corrosion. | NOT_DETECTED | Sev 1-2: galvanized angle stop body is clean; yellow/cream staining on the wall is paint/sealant. | unanimous (0D/3ND)
MCT_315 |  | NOT_DETECTED | 0.95 | Heavy rust is confined to the ineligible escutcheon plate and toilet base bolt; the eligible shutoff valve body shows only flat green patina (severity 2). | NOT_DETECTED | 0.95 | The visible corrosion is confined to the wall escutcheon plate, which is an ineligible component. The eligible shutoff valve body and supply line connections show only minor surface tarnish (severity 1-2) and no raised, chalky, or crusted oxide buildup. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body at wall connection, with raised and crusted texture. | DETECTED | Sev 3: rust on the wall pipe stub at the connection, plus green verdigris on the valve body. | 1/3 models match me (1D/2ND)
MCT_316 |  | DETECTED | 0.95 | Severity 3 corrosion detected: thick, saturated green verdigris buildup is clearly visible on the body of the shutoff valve. | DETECTED | 0.95 | The toilet shutoff valve body exhibits significant green oxidation and crusty buildup, particularly around the valve stem and connection points, which qualifies as severity 3 corrosion. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with green buildup at connection point. | DETECTED | Sev 3: green verdigris on the angle stop body at the stem. | unanimous (3D/0ND)
MCT_317 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the shutoff valve body and connection nut, evidenced by heavy, raised chalky crust and green verdigris buildup. | DETECTED | 0.95 | The shutoff valve body and its connection points exhibit severity 3 major corrosion, characterized by thick, chalky, and crusted white/green oxide buildup covering the valve body and packing nut area. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and compression nut with raised, crusted texture. | DETECTED | Sev 3-4: heavy orange rust on the braided supply line crimps and green verdigris at the angle stop. | unanimous (3D/0ND)
MCT_318 |  | NOT_DETECTED | 0.9 | Heavy rust is confined to the ineligible escutcheon plate; the eligible shutoff valve body and supply line connections show only dust and light flat green tarnish (Severity 2). | NOT_DETECTED | 0.9 | The visible corrosion is primarily located on the ineligible escutcheon plate. The eligible shutoff valve and supply line connections show only minor surface tarnish or dust accumulation (severity 1-2), lacking the raised, chalky, or crusted texture required for a severity 3 classification. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and compression nut with raised, crusted texture. | DETECTED | Sev 3: orange rust crust on the wall stub-out plus green verdigris on the angle stop. | 1/3 models match me (1D/2ND)
MCT_319 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the shutoff valve body at the wall, showing thick, chalky green buildup. | DETECTED | 0.95 | The shutoff valve at the wall exhibits severity 3 major corrosion, characterized by significant green oxide buildup and crusting on the valve body and connection point. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with green buildup at connection point. | DETECTED | Sev 3: clear green verdigris encrustation on the angle stop body. | unanimous (3D/0ND)
MCT_320 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the upper shutoff valve body and connections, showing thick, crusted, chalky buildup covering the majority of the eligible component. | DETECTED | 0.95 | The toilet shutoff valve body and its connection points exhibit severe, raised, and crusted corrosion (severity 3), with significant oxidation buildup visible on the valve assembly and the supply line connection. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and connection, with raised and crusted texture. | DETECTED | Sev 3: green verdigris on the angle stop body. | unanimous (3D/0ND)
MCT_321 |  | NOT_DETECTED | 0.95 | Heavy rust is confined to the ineligible escutcheon plate and green oxidation to the ineligible valve handle; the eligible shutoff valve body, stub-out, and supply line show only minor flat tarnish (severity 2) without raised or crusted buildup. | NOT_DETECTED | 0.9 | The visible corrosion is primarily located on the wall escutcheon, which is an ineligible component. The eligible shutoff valve and supply line connections show only minor surface tarnish or debris, not reaching severity 3. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised, crusted texture. | DETECTED | Sev 3: green verdigris on angle stop body and orange rust on the wall stub/escutcheon at the joint. | 1/3 models match me (1D/2ND)
MCT_322 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the shutoff valve body and pipe stub-out, showing thick, chalky green oxide buildup covering the majority of the components and connection points. | DETECTED | 0.95 | The shutoff valve body and associated connection point exhibit significant green oxidation and crusting, consistent with severity 3 corrosion. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and connection point with raised green corrosion. | DETECTED | Sev 3: green verdigris visible on the angle stop body at the wall connection. | unanimous (3D/0ND)
MCT_323 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the eligible shutoff valve body, showing thick, chalky green buildup covering the majority of the component. | DETECTED | 0.95 | The shutoff valve body shows severity 3 major green corrosion buildup, particularly at the connection points and valve body surface, indicating significant oxidation. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and compression nut with raised, crusted texture. | DETECTED | Sev 3: green verdigris on the angle stop body where the supply line connects. | unanimous (3D/0ND)
MCT_324 |  | DETECTED | 0.95 | Severity 3 corrosion detected: thick, chalky green verdigris buildup on the eligible compression nut and supply line riser at the shutoff valve connection. | DETECTED | 0.95 | The shutoff valve body and the connection point at the supply line show severity 3 major corrosion, characterized by visible, raised, and chalky green oxide buildup on the valve assembly and the compression nut area. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised green corrosion at connection point. | DETECTED | Sev 4: heavy green verdigris encrustation around the angle stop body. | unanimous (3D/0ND)
MCT_325 |  | NOT_DETECTED | 0.95 | Heavy rust is confined to the ineligible escutcheon plate at the wall, while the eligible shutoff valve body and supply pipe show only minor flat tarnish (severity 1-2) without raised or crusted buildup. | NOT_DETECTED | 0.95 | The visible plumbing components, including the shutoff valve and supply line, show only minor surface tarnish or are clean (severity 1-2). The visible corrosion is confined to the wall escutcheon, which is an ineligible component. | DETECTED | 0.95 | Raised, crusted corrosion on shutoff valve body and connection point | DETECTED | Sev 3: green verdigris on the angle stop body. | 1/3 models match me (1D/2ND)
MCT_326 |  | NOT_DETECTED | 0.95 | Rust is visible on the ineligible escutcheon plate, and the eligible metal supply line exhibits a flat green patina (severity 2). No raised, chalky, or crusted corrosion (severity 3+) is present on any eligible plumbing components. | NOT_DETECTED | 0.9 | The visible corrosion is primarily located on the wall escutcheon plate, which is an ineligible component. The supply line and valve body show only minor surface discoloration (severity 2) without the raised, chalky, or crusted texture required for a severity 3 classification. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and compression nut with raised, crusted texture. | NOT_DETECTED | Sev 2: angle stop body is essentially clean galvanized; rust is confined to the ineligible escutcheon. | 2/3 models match me (1D/2ND)
MCT_327 |  | DETECTED | 0.95 | Severity-3 corrosion detected on the drain sealing surface where it meets the sink basin, evidenced by crusted red-brown rust buildup. | DETECTED | 0.95 | Severity 3 corrosion is present at the sink drain sealing surface where the metal tailpiece connects to the sink basin, showing visible crusted, saturated rust buildup at the connection point. | NOT_DETECTED | 0.95 | No raised or crusted corrosion on visible plumbing components. | NOT_DETECTED | Sev 2: sink P-trap, not toilet supply; light rust ring at the iron-to-chrome joint but no severe corrosion on eligible toilet components. | 1/3 models match me (2D/1ND)
MCT_328 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the eligible stub-out pipe and shutoff valve body, showing thick, dark, crusted buildup. | DETECTED | 0.95 | The shutoff valve body and associated compression nut at the wall exhibit severe, crusted, and oxidized corrosion (severity 3-4), which is clearly visible on the functional plumbing component. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised rust at connection point. | DETECTED | Sev 3: green verdigris and orange rust on the angle stop body at the wall stub-out. | unanimous (3D/0ND)
MCT_329 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the eligible shutoff valve body, evidenced by thick, chalky green and white crusted buildup covering the majority of the component. | DETECTED | 0.95 | The toilet shutoff valve body and its connection point exhibit severity 3 major corrosion, characterized by visible, chalky, and crusted green oxide buildup covering the majority of the valve body and the connection area. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and connection point with raised, crusted texture. | DETECTED | Sev 3: heavy green verdigris encrustation on the angle stop body. | unanimous (3D/0ND)
MCT_330 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the metal supply pipe coming from the wall, showing thick, chalky green oxide buildup covering a majority of the pipe section leading to the shutoff valve. | DETECTED | 0.95 | The metal supply pipe and shutoff valve assembly exhibit severity 3 major corrosion, characterized by thick, chalky, and crusted green oxide buildup covering the majority of the pipe surface and the valve body connection points. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with green buildup at connection point. | DETECTED | Sev 4: extensive green verdigris covering the angle stop body. | unanimous (3D/0ND)
MCT_331 |  | NOT_DETECTED | 0.95 | Heavy rust is confined to the ineligible escutcheon plate; the eligible shutoff valve body and supply line connections show only minor dust and tarnish (severity 1-2). | DETECTED | 0.95 | The shutoff valve body and the connection point at the wall stub-out exhibit severe, raised, and crusted corrosion (severity 3), which is distinct from the surrounding escutcheon plate. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised, crusted texture. | NOT_DETECTED | Sev 2: angle stop body is essentially clean galvanized; rust is confined to the ineligible escutcheon. | 1/3 models match me (2D/1ND)
MCT_332 |  | DETECTED | 0.95 | Severity 3 corrosion detected: thick, crusty green oxidation is visible on the base of the shutoff valve body and pipe stub-out at the wall connection. | DETECTED | 0.95 | The shutoff valve body and its connection to the wall pipe exhibit severe, crusted, and chalky green corrosion buildup, consistent with severity 3-4. The surrounding area is heavily coated in dust and debris, but the underlying valve assembly shows significant oxidation product at the connection point. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and compression nut with raised, crusted buildup. | NOT_DETECTED | Sev 2: heavy lint/dust accumulation but no visible oxide pigment on the angle stop body. | hand-overrides unanimous (3D/0ND)
MCT_333 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the eligible shutoff valve body, showing raised, chalky green and white crusted buildup at the connection points. | DETECTED | 0.95 | The shutoff valve and its connection point exhibit severity 3 major corrosion, characterized by visible green oxidation, chalky buildup, and crusting at the threaded joint and valve body. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and connection point with raised green corrosion. | DETECTED | Sev 3: clear green verdigris ring on the wall pipe stub at the eligible joint, plus orange rust on escutcheon. | unanimous (3D/0ND)
MCT_334 |  | DETECTED | 0.95 | Severity 3 corrosion detected: the shutoff valve body and compression nuts exhibit thick, chalky green verdigris buildup at the connection points. | DETECTED | 0.95 | The toilet shutoff valve body and compression nut exhibit severity 3 major corrosion, characterized by thick, chalky, and crusted green oxide buildup covering the connection point and valve body. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and compression nut with raised, crusted texture. | DETECTED | Sev 3: green verdigris band on the wall stub pipe just below the escutcheon. | unanimous (3D/0ND)
MCT_335 |  | NOT_DETECTED | 0.85 | Visible plumbing components including the shutoff valve and supply line show only minor tarnish or dirt (severity 1-2). The rust at the wall penetration appears confined to an escutcheon plate or the wall itself, not the functional pipe. | DETECTED | 0.95 | Severity 3 corrosion is present on the toilet supply stub-out and valve connection at the wall, showing significant crusted, dark oxide buildup at the junction point. | DETECTED | 0.95 | Severe corrosion on shutoff valve body at connection point. | NOT_DETECTED | Sev 2: brass angle stop body shows aged patina but no fresh oxide; dark dirt staining. | 1/3 models match me (2D/1ND)
MCT_336 |  | NOT_DETECTED | 0.95 | The eligible shutoff valve body exhibits a flat green patina (severity 2) without raised or crusted buildup, and the braided supply line is clean. Rust on the ineligible tank bolt does not trigger detection. | NOT_DETECTED | 0.95 | The visible plumbing components, including the shutoff valve and supply line, show only minor surface discoloration and flat patina (severity 2 or less) without any raised, chalky, or crusted oxide buildup at connection points. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with green buildup. | DETECTED | Sev 3: clear green verdigris on the angle stop body. | 1/3 models match me (1D/2ND)
MCT_337 |  | NOT_DETECTED | 0.9 | Heavy corrosion is confined to the ineligible escutcheon plate at the wall and the floor mounting bolt; the eligible shutoff valve body and supply lines show only minor tarnish and dust (severity 1-2). | NOT_DETECTED | 0.9 | The visible plumbing components, including the shutoff valve and supply lines, exhibit only minor surface tarnish and mineral deposits (severity 1-2). The escutcheon plate shows some surface oxidation, but the eligible plumbing components themselves do not show the raised, chalky, or crusted texture required for severity 3. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and connection point with raised, crusted texture. | NOT_DETECTED | Sev 2: angle stop body is dusty but no visible oxide pigment. | 2/3 models match me (1D/2ND)
MCT_338 |  | NOT_DETECTED | 0.95 | The eligible shutoff valve body exhibits a flat green patina (severity 2) without raised, chalky, or crusted buildup, and the braided supply line and connection nuts are clean. | NOT_DETECTED | 0.95 | The shutoff valve and supply line connections show only minor, flat surface discoloration consistent with severity 2 patina, lacking the raised, chalky, or crusted texture required for severity 3. | NOT_DETECTED | 0.95 | No raised or crusted corrosion on visible plumbing components. | DETECTED | Sev 3: green verdigris on the angle stop body and at the wall pipe stub. | hand-overrides unanimous (0D/3ND)
MCT_339 |  | NOT_DETECTED | 0.95 | Eligible plumbing components, including the shutoff valve and copper supply pipe, show only dust, flat patina (severity 2), and a white substance resembling paint or putty on the pipe, with no raised or crusted corrosion buildup. | NOT_DETECTED | 0.9 | The visible plumbing components, including the shutoff valve and supply pipe, show only minor surface oxidation and some dried white sealant or residue, which is classified as severity 2 or less. | DETECTED | 0.95 | Severity 3 corrosion on metal supply pipe near connection point, with visible crusted buildup. | NOT_DETECTED | Sev 2: copper pipe shows brown patina and white mineral scale; no severe oxide on the eligible valve body. | 2/3 models match me (1D/2ND)
MCT_340 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the shutoff valve body and supply pipe stub-out, showing thick, saturated green oxide buildup covering the majority of the components. | DETECTED | 0.95 | The toilet shutoff valve body and associated compression fitting exhibit clear, saturated green corrosion (copper oxidation) covering the majority of the valve surface, consistent with severity 3 major corrosion. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and compression nut with raised green corrosion. | DETECTED | Sev 3: clear green verdigris on the angle stop body. | unanimous (3D/0ND)
MCT_341 |  | DETECTED | 0.9 | Severity 3 corrosion detected on the metal shutoff valve body, showing chalky green oxide buildup at the connection points. | DETECTED | 0.95 | The toilet shutoff valve body exhibits clear green oxidation and crusty buildup at the connection point to the supply pipe, consistent with severity 3 corrosion. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised green corrosion product. | DETECTED | Sev 3: green verdigris on the angle stop body at the connection nut. | unanimous (3D/0ND)
MCT_342 |  | DETECTED | 0.98 | Severity 3 corrosion detected on multiple eligible components: heavy crusty red-brown rust on the wall stub-out pipe and supply line crimp collars, and thick green oxidation buildup on the shutoff valve body. | DETECTED | 0.95 | Severity 3 corrosion is present at the connection points of the flexible supply line, specifically at the nut connecting to the toilet tank and the nut connecting to the shutoff valve, showing visible red-brown oxide buildup and crusting. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and connection point with raised, crusted buildup. | DETECTED | Sev 4: heavy orange rust on the wall pipe and green verdigris on the angle stop body. | unanimous (3D/0ND)
MCT_343 |  | NOT_DETECTED | 0.95 | Rust is visible on the ineligible escutcheon plate against the wall, but the eligible stub-out pipe, shutoff valve, and supply line show no signs of severity-3 corrosion. | NOT_DETECTED | 0.95 | The eligible plumbing components, including the shutoff valve and supply line, are free of major corrosion. The visible rust is confined to the wall escutcheon, which is an ineligible component. | NOT_DETECTED | 0.95 | No raised or crusted corrosion on eligible components; minor discoloration on wall plate. | NOT_DETECTED | Sev 2: angle stop body is clean galvanized with light dust; white at the escutcheon is sealant. | unanimous (0D/3ND)
MCT_344 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the eligible shutoff valve body, showing thick, chalky green verdigris buildup covering the majority of the component and its connection points. | DETECTED | 0.95 | The toilet shutoff valve body and the associated compression nut exhibit significant green oxidation and crusty buildup, which constitutes severity 3 corrosion at a critical connection point. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with green buildup. | DETECTED | Sev 3: clear green verdigris on the angle stop body. | unanimous (3D/0ND)
MCT_345 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the flexible supply line and shutoff valve connection behind the toilet, evidenced by thick, crusted, chalky buildup covering a majority of the line. | DETECTED | 0.95 | The flexible toilet supply line exhibits severe, crusted, and chalky corrosion buildup along its length and at the connection point to the shutoff valve, consistent with severity 3. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve and pipe connection with raised, crusted texture. | DETECTED | Sev 3: heavy dark scale/oxide encrustation on the angle stop body and supply riser. | unanimous (3D/0ND)
MCT_346 |  | NOT_DETECTED | 0.95 | The visible plumbing components, including the flexible supply line and shutoff valve, are heavily coated in dust and lint, which is a confuser and not corrosion. No severity-3 raised or crusted oxide buildup is visible on the eligible components. | NOT_DETECTED | 0.9 | The visible white substance on the supply line and shutoff valve is primarily dust, lint, and debris accumulation rather than raised, chalky, or crusted oxide buildup indicative of severity 3 corrosion. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve and supply line with raised, chalky buildup. | NOT_DETECTED | Sev 2-3: heavy white mineral encrustation on supply line (calcification, not oxide corrosion); body is dirty but shows no oxide pigment. | 2/3 models match me (1D/2ND)
MCT_347 |  | NOT_DETECTED | 0.95 | Heavy rust is confined to the ineligible escutcheon plate; eligible components such as the shutoff valve and supply line show only minor flat tarnish (severity 1-2). | NOT_DETECTED | 0.9 | The visible plumbing components, including the shutoff valve and supply line, show only minor surface discoloration or dust. The heavy rust is confined to the ineligible wall escutcheon plate. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and connection point with raised, crusted texture. | DETECTED | Sev 3: green verdigris on the angle stop body. | 1/3 models match me (1D/2ND)
MCT_348 |  | NOT_DETECTED | 0.95 | Visible plumbing components including the shutoff valve, braided supply line, and tank connection show only dust, grime, and minor tarnish (severity 0-1), with no raised or crusted corrosion buildup. | NOT_DETECTED | 0.95 | The visible plumbing components, including the flexible supply line and shutoff valve, show only minor surface grime and dust, which are severity 0-1 conditions. No raised, chalky, or crusted corrosion is present on the connection points or the supply line body. | NOT_DETECTED | 0.95 | No raised or crusted corrosion on visible plumbing components. | NOT_DETECTED | Sev 2: angle stop body is clean galvanized; supply riser has greenish grime but no clear oxide. | unanimous (0D/3ND)
MCT_349 |  | NOT_DETECTED | 0.95 | Visible plumbing components show no severity-3 corrosion; the white substance on the supply pipe appears to be paint or sealant. | NOT_DETECTED | 0.9 | The visible plumbing components, including the shutoff valve and supply line, show only minor surface discoloration and paint residue, which are severity 1-2 conditions. No raised, chalky, or crusted corrosion is present on the connection points. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised, crusted buildup. | DETECTED | Sev 3: green verdigris on the angle stop body where the supply connects. | 1/3 models match me (1D/2ND)
MCT_350 |  | NOT_DETECTED | 0.95 | Visible eligible plumbing components including the shutoff valve and braided supply line show only minor flat tarnish or dust (severity 1-2), lacking any raised, chalky, or crusted corrosion buildup. | NOT_DETECTED | 0.9 | The visible plumbing components, including the shutoff valve and supply line, exhibit only minor surface grime and light tarnish, which are severity 1-2 conditions. No raised, chalky, or crusted corrosion is present on the connection points or the body of the components. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised, crusted texture. | NOT_DETECTED | Sev 2: angle stop body is grimy galvanized but shows no clear oxide pigment. | 2/3 models match me (1D/2ND)
MCT_351 |  | NOT_DETECTED | 0.95 | Visible plumbing components, including the shutoff valve and braided supply line, are clean. The copper stub-out shows only flat patina (severity 2) without any raised, chalky, or crusted corrosion buildup. | DETECTED | 0.95 | Severity 3 corrosion is present on the metal supply pipe stub-out at the connection point to the shutoff valve, showing visible saturated brown oxide buildup and crusting. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve connection, visible crusted buildup. | NOT_DETECTED | Sev 2-3 borderline: small surface rust patch at the wall-pipe-to-stop joint; angle stop body itself is otherwise clean chrome. | 1/3 models match me (2D/1ND)
MCT_352 |  | NOT_DETECTED | 0.95 | The eligible plumbing components, including the shutoff valve and supply line, are covered in white paint rather than corrosion. Minor rust is present on the toilet tank bolts, which are ineligible components. | NOT_DETECTED | 0.95 | The visible plumbing components, including the supply line and shutoff valve, show no signs of severity 3 or 4 corrosion. The white substance observed on the supply line is consistent with paint or sealant residue, and the valve and connections appear clean or have only minor surface dust/discoloration (severity 0-1). | NOT_DETECTED | 0.95 | No raised or crusted corrosion on visible plumbing components; only minor discoloration. | NOT_DETECTED | Sev 2: angle stop body is dirty galvanized with no oxide pigment. | unanimous (0D/3ND)
MCT_353 |  | DETECTED | 0.98 | Severity 3 corrosion detected on the shutoff valve body and wall stub-out pipe, showing thick, chalky green and brown crusted oxide buildup covering the majority of the components. | DETECTED | 0.95 | The toilet shutoff valve exhibits severity 3 corrosion, characterized by visible green oxidation and crusty buildup on the valve body and connection point. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised, crusted buildup. | DETECTED | Sev 3: green verdigris and orange rust on the angle stop body. | unanimous (3D/0ND)
MCT_354 |  | DETECTED | 0.95 | Severity 3 corrosion detected: thick, crusted green oxidation buildup on the shutoff valve body. | DETECTED | 0.95 | The shutoff valve body shows severity 3 corrosion, characterized by visible green oxidation buildup on the valve body and connection point. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with green corrosion at connection point. | DETECTED | Sev 3: green verdigris at the angle stop body/wall pipe joint. | unanimous (3D/0ND)
MCT_355 |  | NOT_DETECTED | 0.95 | Eligible valve body and connection nuts show only flat tarnish (severity 2). Heavy discoloration is confined to the ineligible escutcheon plate and valve handle. | NOT_DETECTED | 0.9 | The shutoff valve and supply line connections show only minor surface tarnish and dust accumulation (severity 1-2). The heavy staining is primarily on the ineligible escutcheon plate and valve handle, while the functional connection points remain free of raised, chalky, or crusted corrosion. | NOT_DETECTED | 0.95 | Light tarnish on shutoff valve body, no raised corrosion | DETECTED | Sev 3: heavy brown/black scale on the brass angle stop body and supply nut, plus orange rust. | hand-overrides unanimous (0D/3ND)
MCT_356 |  | NOT_DETECTED | 0.95 | Heavy rust is confined to the ineligible escutcheon plate at the wall; the eligible stub-out pipe, shutoff valve, and supply line show only minor flat green tarnish (severity 2) without thick crusty buildup. | NOT_DETECTED | 0.9 | The visible corrosion is confined to the wall escutcheon plate and the immediate area of the wall penetration, which are ineligible components. The eligible plumbing components, including the shutoff valve and supply line, appear to be in good condition without evidence of severity-3 or severity-4 corrosion. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body at wall connection, with visible rust buildup. | DETECTED | Sev 3: orange rust ring on the wall pipe stub at the angle stop joint. | 1/3 models match me (1D/2ND)
MCT_357 |  | NOT_DETECTED | 0.95 | Heavy rust is confined to the ineligible escutcheon plate and valve handle, while the eligible valve body, compression nuts, and supply line remain clean (severity 0-1). | NOT_DETECTED | 0.9 | The shutoff valve handle shows surface oxidation and mineral buildup, but the valve body and connection points are clean. The escutcheon plate shows surface rust, which is an ineligible component. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and compression nut with raised, crusted texture. | DETECTED | Sev 4: heavy orange rust crust on the angle stop body. | 1/3 models match me (1D/2ND)
MCT_358 |  | NOT_DETECTED | 0.95 | Visible plumbing components including the shutoff valve, supply line, and pipe stub-out show only minor tarnish or paint residue (Severity 0-2). The green staining is on the adjacent floor, not forming a corrosive buildup on the plumbing components themselves. | NOT_DETECTED | 0.95 | The eligible plumbing components, including the shutoff valve and supply line, appear to be in good condition without visible raised or crusted corrosion. The blue staining on the floor is a surface stain adjacent to the plumbing, not corrosion on the component itself. | NOT_DETECTED | 0.95 | No raised or crusted corrosion on visible plumbing components; minor discoloration on floor. | DETECTED | Sev 3: green verdigris drip stain at the connection nut and on the floor. | hand-overrides unanimous (0D/3ND)
MCT_359 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the eligible shutoff valve body, showing raised, chalky, and crusted buildup covering a significant portion of the component. | DETECTED | 0.95 | The shutoff valve body and its connection point exhibit severity 3 corrosion, characterized by visible, raised, and chalky oxide buildup covering the majority of the valve body and the packing nut area. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised, crusted buildup. | NOT_DETECTED | Sev 2-3 borderline: heavy mineral scale on the angle stop body but no oxide pigment; small spot rust at wall. | hand-overrides unanimous (3D/0ND)
MCT_360 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the shutoff valve body at the wall, showing thick, raised green chalky buildup. | DETECTED | 0.95 | The toilet shutoff valve exhibits severity 3 major corrosion, characterized by visible green oxidation buildup on the valve body and connection point. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with green buildup at connection point. | DETECTED | Sev 3: green verdigris on the angle stop body. | unanimous (3D/0ND)
MCT_361 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the shutoff valve body, showing raised, chalky green and white crusted buildup around the packing nut and wall connection. | DETECTED | 0.95 | The toilet shutoff valve body exhibits severity 3 major corrosion, characterized by visible, chalky, and crusted green oxide buildup on the valve body and connection points. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised, crusted texture. | NOT_DETECTED | Sev 1: angle stop body is essentially clean galvanized; tiny rust spot on the handle only. | hand-overrides unanimous (3D/0ND)
MCT_362 |  | NOT_DETECTED | 0.95 | Eligible plumbing components including the shutoff valve and fittings are covered in dust and lint but show no signs of severity-3 raised, chalky, or crusted corrosion. | NOT_DETECTED | 0.9 | The visible plumbing components, including the shutoff valve and supply line, show only surface dust and minor tarnish (severity 1-2). There is no evidence of raised, chalky, or crusted corrosion at the connection points or on the valve body. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and compression nut with raised, chalky buildup. | NOT_DETECTED | Sev 2: angle stop body is clean chrome with light scale. | 2/3 models match me (1D/2ND)
MCT_363 |  | NOT_DETECTED | 0.95 | Heavy pitting and discoloration are confined to the ineligible escutcheon plate; eligible components including the valve body and supply line show only flat tarnish (severity 2) without raised or crusted buildup. | DETECTED | 0.95 | The toilet supply line connection at the tank shows severity 3 corrosion, characterized by visible, dark, and textured oxidation buildup on the crimp collar and connection point. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised, crusted texture. | NOT_DETECTED | Sev 2: angle stop is dusty galvanized with no clear oxide. | 1/3 models match me (2D/1ND)
MCT_364 |  | NOT_DETECTED | 0.9 | Rust is present on the ineligible escutcheon plate at the wall, while the eligible shutoff valve body and supply line exhibit only flat patina and dust (severity 2) without raised or crusted buildup. | DETECTED | 0.95 | The toilet shutoff valve body and the connection point at the wall stub-out exhibit severity 3 major corrosion, characterized by visible green oxidation and crusty buildup on the valve body and surrounding the connection point. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with green buildup at connection point. | DETECTED | Sev 3: green verdigris on the angle stop body at the wall stub. | 2/3 models match me (2D/1ND)
MCT_365 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the eligible shutoff valve body, evidenced by raised, chalky green oxide buildup. | DETECTED | 0.95 | The toilet shutoff valve exhibits severity 3 corrosion, characterized by visible green oxidation buildup on the valve body and compression nut connection point. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and compression nut with green and rust buildup. | DETECTED | Sev 3: bright green verdigris ring and orange rust on the angle stop body. | unanimous (3D/0ND)
MCT_366 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the eligible metal supply pipe between the wall and the valve assembly, showing thick, raised green oxide buildup. | DETECTED | 0.95 | The shutoff valve assembly and associated metal piping exhibit significant green corrosion and oxidation buildup, particularly at the threaded joints and connection points, which qualifies as severity 3. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and pipe connection, with raised and crusted texture. | DETECTED | Sev 3: green verdigris on the angle stop body and orange rust at the wall stub. | unanimous (3D/0ND)
MCT_367 |  | NOT_DETECTED | 0.9 | Visible plumbing components including the shutoff valve and connections show severity 0-1 conditions. The greyish substance on the braided supply line appears to be putty, tape, or sealant rather than oxide corrosion. | NOT_DETECTED | 0.9 | The visible substance on the flexible supply line is smooth, white, and consistent with sealant or caulk residue rather than raised, chalky, or crusted oxide buildup characteristic of severity 3 corrosion. | NOT_DETECTED | 0.95 | No raised or crusted corrosion on visible plumbing components. | DETECTED | Sev 3: green/brown oxide on the angle stop body and supply. | hand-overrides unanimous (0D/3ND)
MCT_368 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the eligible shutoff valve body, showing raised, chalky green verdigris buildup near the wall connection. | DETECTED | 0.95 | The toilet shutoff valve body exhibits significant green oxidation and crusty buildup, which is a severity 3 condition on an eligible plumbing component. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised green corrosion product. | DETECTED | Sev 3: heavy green verdigris on the angle stop body. | unanimous (3D/0ND)
MCT_369 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the shutoff valve body, showing raised, chalky green and white oxide buildup. | DETECTED | 0.95 | The shutoff valve body and the connection point at the wall stub-out exhibit significant, raised, and chalky green corrosion (severity 3), indicating advanced oxidation at a critical connection point. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and compression nut with raised, crusted texture. | NOT_DETECTED | Sev 2: angle stop body and supply line are clean chrome with light grime. | hand-overrides unanimous (3D/0ND)
MCT_370 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the eligible shutoff valve body, showing thick, chalky green verdigris buildup. | DETECTED | 0.95 | The toilet shutoff valve body exhibits severity 3 major corrosion, characterized by visible green oxidation buildup and crusting on the valve body and connection point. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with green buildup at connection point. | DETECTED | Sev 3: clear green verdigris on the angle stop body. | unanimous (3D/0ND)
MCT_371 |  | NOT_DETECTED | 0.95 | The visible plumbing components, including the supply line and shutoff valve, show dirt, grime, and a black coating or tape, but lack raised, chalky, or crusted corrosion (severity 0-2). | DETECTED | 0.95 | The toilet supply line connection at the tank and the shutoff valve assembly exhibit severity 3 major corrosion, characterized by thick, dark, saturated buildup and crusting at the connection points and along the supply line. | DETECTED | 0.95 | Raised, crusted corrosion on shutoff valve body and connection point. | DETECTED | Sev 3: heavy dark scale/oxide encrustation on the angle stop body. | 2/3 models match me (2D/1ND)
MCT_372 |  | NOT_DETECTED | 0.9 | Heavy oxidation is visible on the ineligible valve handle, but the eligible valve body and supply pipes show only flat discoloration or tarnish (severity 1-2) without raised or crusty buildup. | DETECTED | 0.95 | The toilet shutoff valve body exhibits severe, thick, and crusted oxidation buildup across its entire surface, consistent with severity 3 corrosion. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised, crusted texture. | DETECTED | Sev 3-4: extensive corrosion encrustation on the angle stop body. | 2/3 models match me (2D/1ND)
MCT_373 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the shutoff valve body and supply line connection fittings, evidenced by thick, crusted green oxide buildup at the connection points. | DETECTED | 0.95 | The shutoff valve body and the connection point at the supply line show clear, raised, and crusted green corrosion product, indicating severity 3. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve and supply line connection with raised, crusted buildup. | DETECTED | Sev 3: green verdigris on the angle stop body and connection nut. | unanimous (3D/0ND)
MCT_374 |  | NOT_DETECTED | 0.9 | Heavy rust is present on the ineligible escutcheon plate and oxidation on the ineligible valve handle, while the eligible shutoff valve body and supply line connections show only flat patina (Severity 2) without raised or crusted buildup. | NOT_DETECTED | 0.9 | The shutoff valve and supply line connections show only minor surface tarnish or discoloration (severity 2). The heavy rust visible is confined to the wall escutcheon, which is an ineligible component. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised, crusted texture. | DETECTED | Sev 3: green verdigris on the angle stop body. | 1/3 models match me (1D/2ND)
MCT_375 |  | NOT_DETECTED | 0.95 | The visible shutoff valve, braided supply line, and connections show only minor dust, grime, and isolated flat discoloration (severity 0-2), with no raised, chalky, or crusted corrosion buildup. | DETECTED | 0.95 | Severity 3 corrosion is present on the toilet shutoff valve body and connection point, characterized by visible, raised, and crusted oxide buildup at the valve-to-pipe interface. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised, crusted buildup. | DETECTED | Sev 3: orange rust on the angle stop body at the connection nut. | 2/3 models match me (2D/1ND)
MCT_376 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the shutoff valve body and wall stub-out pipe, evidenced by raised, chalky green oxide buildup covering the components. | NOT_DETECTED | 0.9 | The shutoff valve body shows flat green patina (severity 2) but lacks the raised, chalky, or crusted texture required for severity 3. The supply line and connections appear clean. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and compression nut with green corrosion buildup. | DETECTED | Sev 3: green verdigris at the angle stop body and supply connection. | 2/3 models match me (2D/1ND)
MCT_377 |  | DETECTED | 0.9 | Severity 3 corrosion detected on the eligible connection nut of the flexible supply line at the shutoff valve, showing saturated green corrosion buildup. | NOT_DETECTED | 0.9 | The visible plumbing components, including the shutoff valve and supply line connection, show signs of white mineral deposits and dried sealant or paint residue, which are not classified as corrosion. The valve handle shows minor surface wear, but the eligible plumbing components themselves do not exhibit severity-3 or severity-4 corrosion. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised, crusted buildup. | NOT_DETECTED | Sev 2: heavy white mineral scale on body; no clear oxide pigment beneath. | 1/3 models match me (2D/1ND)
MCT_378 |  | DETECTED | 0.9 | Severity-3 corrosion detected on the metal supply pipe (stub-out) and shutoff valve body, evidenced by thick, chalky green verdigris buildup covering the majority of the pipe. | NOT_DETECTED | 0.9 | The visible plumbing components, including the shutoff valve and supply pipe, exhibit flat green patina and some paint residue, which corresponds to severity 2. There is no evidence of raised, chalky, or crusted corrosion buildup at the connection points. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and compression nut with raised green corrosion. | DETECTED | Sev 3: green verdigris on the angle stop body. | 2/3 models match me (2D/1ND)
MCT_379 |  | NOT_DETECTED | 0.95 | Heavy rust is confined to the ineligible escutcheon plate and support rod; the eligible shutoff valves and compression nuts show only flat tarnish (severity 2) without raised or crusted buildup. | DETECTED | 0.95 | The metal support bracket and associated hardware behind the toilet supply line exhibit severe, raised, and crusted rust (severity 3) at the connection point and along the metal rod, indicating significant oxidation. | DETECTED | 0.95 | Raised green corrosion on shutoff valve bodies and connections. | DETECTED | Sev 3: heavy green verdigris on both angle stop bodies (dual valve). | 2/3 models match me (2D/1ND)
MCT_380 |  | DETECTED | 0.95 | Severity 3 corrosion detected; the shutoff valve and flexible supply line exhibit thick, chalky, crusted buildup covering the majority of the components. | DETECTED | 0.95 | The toilet supply valve and flexible supply line exhibit severity 3-4 corrosion, characterized by heavy, chalky, and crusted white/grey mineralized oxide buildup covering the valve body, compression nut, and the entire length of the supply line. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and compression nut with raised, crusted texture. | NOT_DETECTED | Sev 2: chalky white scale/mineral on body; no oxide. | hand-overrides unanimous (3D/0ND)
MCT_381 |  | DETECTED | 0.9 | Severity 3 corrosion detected on the eligible metal supply pipe (stub-out) connecting to the shutoff valve, showing raised, crusty green oxidation buildup. | DETECTED | 0.95 | Severity 3 corrosion is present on the metal supply pipe stub-out at the connection point to the shutoff valve, showing visible green oxidation and crusting. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve connection; green corrosion buildup. | DETECTED | Sev 3: bright green verdigris visible on the angle stop body near the right edge of frame. | unanimous (3D/0ND)
MCT_382 |  | DETECTED | 0.98 | Severity 3 corrosion detected on eligible components: the shutoff valve body and the supply line crimp collars exhibit thick, raised, chalky green oxidation buildup at the connection points. | DETECTED | 0.95 | The toilet shutoff valve and its connection point exhibit severity 3 major corrosion, characterized by visible, chalky, and crusted green oxide buildup on the valve body and the compression nut/ferrule area. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and compression nut with raised, crusted texture. | DETECTED | Sev 4: heavy green verdigris encrustation on the angle stop body, supply connection, and escutcheon; yellow supply tube. | unanimous (3D/0ND)
MCT_383 |  | DETECTED | 0.9 | Severity 3 corrosion detected on the shutoff valve body, showing visible green chalky buildup. | DETECTED | 0.95 | The toilet shutoff valve body exhibits severity 3 major green corrosion buildup at the connection point to the wall stub-out. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with green buildup. | NOT_DETECTED | Sev 1: chrome angle stop body is clean. | hand-overrides unanimous (3D/0ND)
MCT_384 |  | NOT_DETECTED | 0.95 | Eligible plumbing components, including the metal tailpiece, shutoff valves, and supply lines, show only flat tarnish (severity 1-2) or are clean, with no raised, chalky, or crusted corrosion buildup. | DETECTED | 0.95 | Severity 3 corrosion is present on the metal sink tailpiece connection point, showing visible dark oxidation and buildup at the threaded junction above the P-trap. | NOT_DETECTED | 0.95 | No raised or crusted corrosion on visible plumbing components. | NOT_DETECTED | Sev 0-1: sink plumbing only (no toilet supply visible); supply lines and angle stops are clean. | 2/3 models match me (1D/2ND)
MCT_385 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the shutoff valve body, showing raised, chalky green buildup around the packing nut and valve body. | DETECTED | 0.95 | The shutoff valve body shows severity 3 major green corrosion buildup, particularly around the valve stem and connection point to the wall pipe. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with green buildup at connection point. | DETECTED | Sev 3: clear green verdigris on the angle stop body at the wall. | unanimous (3D/0ND)
MCT_386 |  | DETECTED | 0.95 | Severity 3 corrosion detected; the shutoff valve body and wall stub-out exhibit heavy, chalky green oxide buildup. | DETECTED | 0.95 | Severity 3 corrosion is present on the toilet shutoff valve body and compression nut, showing visible green oxidation and crusting at the connection point. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with green buildup. | DETECTED | Sev 3: green verdigris at the angle stop body where the braided supply connects. | unanimous (3D/0ND)
MCT_387 |  | DETECTED | 0.9 | Severity 3 corrosion detected on the toilet shutoff valve at the wall connection, evidenced by thick, chalky, crusted white buildup. | DETECTED | 0.95 | The toilet shutoff valve and its connection to the wall pipe exhibit severity 3 major corrosion, characterized by significant, raised, chalky, and crusted white/grey oxide buildup at the valve body and connection point. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised, crusted texture. | NOT_DETECTED | Sev 1-2: angle stop body shows light grey/white mineral only; no oxide pigment. | hand-overrides unanimous (3D/0ND)
MCT_388 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the metal supply hose, evidenced by extensive, raised red-brown rust buildup covering a significant portion of the component. | DETECTED | 0.95 | The shutoff valve and the connection point at the wall exhibit severe, crusted, and chalky mineral/corrosion buildup, consistent with severity 3-4 corrosion on an eligible plumbing component. | DETECTED | 0.95 | Severity 3 corrosion on flexible supply line and connection nut with raised, crusted texture. | DETECTED | Sev 3 borderline: supply connection ferrule shows white/grey corrosion product with some oxide staining; significant degradation visible on chrome at left. | unanimous (3D/0ND)
MCT_389 |  | NOT_DETECTED | 0.95 | Heavy corrosion is confined to the ineligible valve handle, while the eligible valve body, compression nut, and supply line show only dust, grime, and light tarnish (severity 0-2). | NOT_DETECTED | 0.85 | The visible shutoff valve and supply line show only minor surface oxidation and dust accumulation, consistent with severity 1-2; there is no evidence of raised, chalky, or crusted corrosion buildup on the connection points. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised, crusted texture. | NOT_DETECTED | Sev 2: heavy dust and rust staining on tile/wall; angle stop body itself is dust-covered chrome, no oxide pigment on the metal. | 2/3 models match me (1D/2ND)
MCT_390 |  | NOT_DETECTED | 0.95 | Heavy rust is confined to the ineligible escutcheon plate; the eligible copper supply pipe shows only flat green patina (severity 2) and the valve body is clean. | NOT_DETECTED | 0.9 | The visible plumbing components, including the shutoff valve and supply line, show only minor flat surface oxidation and patina (severity 2). The heavy rust is confined to the wall escutcheon, which is an ineligible component. | NOT_DETECTED | 0.95 | Flat patina on valve body, no raised corrosion | DETECTED | Sev 3: clear green verdigris on the angle stop body at the stem. | hand-overrides unanimous (0D/3ND)
MCT_391 |  | DETECTED | 0.95 | Severity 3 corrosion detected; thick, chalky, crusted buildup covering the majority of the shutoff valve body and compression nut connection. | DETECTED | 0.95 | The shutoff valve body and compression nut exhibit severity 3 major corrosion, characterized by thick, chalky, and crusted oxide buildup covering the connection point and the valve body. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised, crusted texture. | NOT_DETECTED | Sev 2 borderline: heavy dust caking on the angle stop body; orange tint reads as dust + tile rust transfer, no clear oxide pigment seated on the metal. | hand-overrides unanimous (3D/0ND)
MCT_392 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the eligible shutoff valve body, evidenced by thick, chalky green oxide buildup covering the component and a visible leak trail on the wall below. | NOT_DETECTED | 0.85 | The shutoff valve shows flat green patina and minor surface discoloration, which is consistent with severity 2. There is no evidence of raised, chalky, or crusted oxide buildup on the valve body or connection points. The staining on the wall is likely mineral runoff or leakage residue, not active corrosion of the plumbing component itself. | NOT_DETECTED | 0.95 | Light tarnish on shutoff valve, no raised or crusted corrosion. | DETECTED | Sev 3: green verdigris on the angle stop body. | 1/3 models match me (1D/2ND)
MCT_393 |  | DETECTED | 0.98 | Severity 3 corrosion detected: thick, chalky green verdigris buildup covers the shutoff valve body, compression nut, and the lower portion of the metal supply riser at the connection point. | DETECTED | 0.95 | The toilet supply valve and the lower section of the supply riser exhibit severity 3 major corrosion, characterized by thick, saturated green oxide buildup and crusting at the valve body and compression nut connection point. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with green buildup at connection point. | DETECTED | Sev 4: extensive green verdigris on the supply riser and angle stop body. | unanimous (3D/0ND)
MCT_394 |  | NOT_DETECTED | 0.95 | Visible plumbing components including the shutoff valve and supply line appear clean with no corrosion (severity 0). The white material around the wall pipe is expanding foam sealant, not corrosion. | NOT_DETECTED | 0.95 | The white substance around the pipe stub-out is consistent with caulk or sealant used to fill the gap between the pipe and the wall, not corrosion product. | NOT_DETECTED | 0.9 | White substance on shutoff valve appears to be sealant or paint, not corrosion. | NOT_DETECTED | Sev 1-2: white mineral/scale tuft at supply connection; metal body shows no oxide pigment. | unanimous (0D/3ND)
MCT_395 |  | DETECTED | 0.99 | Severity 3 corrosion detected: thick, crusted green verdigris covers the shutoff valve body and wall stub-out, and heavy red-brown rust is visible on the lower portion of the braided supply line. | DETECTED | 0.95 | The toilet shutoff valve and the connection point to the flexible supply line exhibit severity 3 major corrosion, characterized by thick, chalky, and crusted green oxide buildup covering the valve body and the connection nut. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and connection, with raised green corrosion. | DETECTED | Sev 4: heavy green verdigris and orange rust covering the angle stop body and ferrule. | unanimous (3D/0ND)
MCT_396 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the shutoff valve body, showing thick, chalky green verdigris buildup covering the valve and packing nut area. | DETECTED | 0.95 | The toilet shutoff valve body exhibits severity 3 major corrosion, characterized by visible green oxidation buildup on the valve body and connection point at the wall. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body at wall connection, with raised and crusted texture. | DETECTED | Sev 3: green verdigris on angle stop body at left edge. | unanimous (3D/0ND)
MCT_397 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the eligible shutoff valve body, showing raised, chalky green buildup at the packing nut connection point. | DETECTED | 0.95 | The toilet shutoff valve body and its connection point exhibit clear severity-3 green corrosion buildup, which is chalky and saturated, indicating significant oxidation at the valve assembly. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and compression nut with raised, crusted buildup. | DETECTED | Sev 3 borderline: green verdigris at the supply connection ferrule and angle stop body. | unanimous (3D/0ND)
MCT_398 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the shutoff valve body and lower compression nut, showing thick, chalky green and white buildup at the connection point. | DETECTED | 0.95 | The toilet shutoff valve shows severity 3 major corrosion, characterized by visible, chalky, and crusted green oxide buildup at the connection point where the supply line meets the valve body. | DETECTED | 0.95 | Severity 3 corrosion on metal supply pipe at connection point with raised green buildup. | DETECTED | Sev 3: clear green verdigris on the supply riser near the floor escutcheon. | unanimous (3D/0ND)
MCT_399 |  | DETECTED | 0.95 | Severity 3 corrosion detected: The metal toilet supply line and shutoff valve body exhibit extensive, thick green oxidation buildup covering the majority of the components. | DETECTED | 0.95 | Severity 3 corrosion is present on the toilet supply line and shutoff valve, characterized by significant green oxidation buildup and crusting at the connection points and along the supply line body. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve and supply line with green buildup at connection points. | DETECTED | Sev 4: heavy green verdigris encrustation covering the entire supply riser and angle stop body. | unanimous (3D/0ND)
MCT_400 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the metal T-fitting at the toilet tank connection, showing raised, chalky green and white buildup at the connection points. | DETECTED | 0.95 | The metal shutoff valve and associated compression nut at the toilet tank connection exhibit clear, raised, and crusted green corrosion product, meeting the criteria for severity 3 major corrosion at a connection point. | DETECTED | 0.95 | Raised, chalky corrosion on shutoff valve body and compression nut. | NOT_DETECTED | Sev 1-2: angle stop body and connection appear clean galvanized; minor grey staining at top of compression nut but no oxide pigment. | hand-overrides unanimous (3D/0ND)
MCT_401 |  | NOT_DETECTED | 0.85 | The visible shutoff valve and supply line exhibit dark discoloration and possible flat tarnish or grime (severity 2), but lack the raised, chalky, or crusted oxide buildup required for major corrosion. | NOT_DETECTED | 0.85 | The visible shutoff valve and supply line show only minor surface discoloration and flat patina, which are severity 2 or less. No raised, chalky, or crusted oxide buildup is present on the eligible components. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised, crusted texture. | DETECTED | Sev 4: heavy black/green corrosion product covering the entire angle stop body. | 1/3 models match me (1D/2ND)
MCT_402 |  | DETECTED | 0.98 | Severity 3 corrosion detected on the shutoff valve body, stub-out pipe, and lower supply line connection, evidenced by thick, chalky, crusted green and white oxide buildup covering these eligible components. | DETECTED | 0.95 | The shutoff valve body and its connection points exhibit severity 3 major corrosion, characterized by visible, chalky, and crusted green oxide buildup covering the majority of the valve assembly and the connection to the supply line. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and compression nut with raised, crusted buildup. | DETECTED | Sev 3: green verdigris on the angle stop body and connection. | unanimous (3D/0ND)
MCT_403 |  | DETECTED | 0.95 | Severity 3 corrosion detected: raised, crusty green buildup is visible on the connection nut between the shutoff valve and the metal braided supply line, along with rust spots on the braided line itself. | DETECTED | 0.95 | The toilet supply line connection point at the shutoff valve shows severity 3 corrosion, characterized by visible green oxidation and crusting at the threaded fitting and the flexible supply line coupling. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and connection nut, visible raised and crusted buildup. | DETECTED | Sev 3 borderline: oxide on the chrome connection nut and rust on the flex riser at right. | unanimous (3D/0ND)
MCT_404 |  | NOT_DETECTED | 0.95 | Heavy rust is confined to the ineligible escutcheon plate at the wall. The eligible shutoff valve body, compression nuts, and flexible supply line show only minor flat tarnish and dust (severity 0-2), with no raised or crusted corrosion buildup. | NOT_DETECTED | 0.9 | The shutoff valve and supply line connections show only minor surface tarnish or dust (severity 1-2). The visible rust is primarily on the wall escutcheon, which is an ineligible component. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and compression nut with raised, crusted buildup. | NOT_DETECTED | Sev 2: angle stop body shows minor patina/grey scale; yellow color on escutcheon is ineligible. | 2/3 models match me (1D/2ND)
MCT_405 |  | NOT_DETECTED | 0.9 | The shutoff valve body and stub-out pipe exhibit a flat green patina (severity 2), and the connection nut has white paint or sealant; no raised, crusted, or severe corrosion is visible on eligible components. | NOT_DETECTED | 0.9 | The shutoff valve and supply line connections show only minor surface discoloration and flat patina (severity 2), with no evidence of raised, chalky, or crusted oxide buildup at the connection points. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and compression nut with green buildup. | DETECTED | Sev 3: clear green verdigris on the angle stop body. | 1/3 models match me (1D/2ND)
MCT_406 |  | DETECTED | 0.95 | Severity-3 corrosion detected on the eligible hose-end fitting and connector nut of the flexible supply line at the shutoff valve, showing thick, saturated red-brown rust buildup at the connection point. | NOT_DETECTED | 0.9 | The visible plumbing components, including the shutoff valve and supply lines, show only minor surface tarnish or grime. The heavy rust observed is confined to the ineligible wall escutcheon plate. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised, crusted texture. | DETECTED | Sev 3: green verdigris on the angle stop body at the bottom. | 2/3 models match me (2D/1ND)
MCT_407 |  | NOT_DETECTED | 0.9 | Eligible plumbing components (valve body, supply pipe) show only flat oxidation, patina, and dust (severity 1-2). Minor rust is confined to the ineligible escutcheon plate and valve handle. | NOT_DETECTED | 0.9 | The shutoff valve and supply line show only minor surface discoloration and dust accumulation (severity 1-2). The visible corrosion is primarily on the ineligible escutcheon plate and handle, while the eligible valve body and connections remain free of raised or crusted oxide buildup. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and compression nut with raised, crusted texture. | NOT_DETECTED | Sev 1-2: angle stop body has light grey/white scale; teal residue on floor is paint/marker, not corrosion. | 2/3 models match me (1D/2ND)
MCT_408 |  | DETECTED | 0.95 | Severity-3 green, chalky corrosion buildup is clearly visible covering the majority of the eligible shutoff valve body. | DETECTED | 0.95 | The shutoff valve body and the copper stub-out pipes exhibit severity 3 corrosion, characterized by visible green oxidation and crusty buildup at the connection points and along the pipe surfaces. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and pipe with raised, crusted texture. | DETECTED | Sev 4: heavy green verdigris/black oxide covering entire angle stop, supply riser, and floor flange. | unanimous (3D/0ND)
MCT_409 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the metal toilet supply line and shutoff valve compression nut, showing thick, saturated green verdigris buildup covering the majority of the pipe. | NOT_DETECTED | 0.85 | The toilet supply line and shutoff valve exhibit flat, smooth green patina and surface discoloration, which is consistent with severity 2 oxidation rather than the raised, chalky, or crusted texture required for severity 3. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and compression nut with raised, crusted texture. | DETECTED | Sev 3: green verdigris on the supply riser bend and angle stop body. | 2/3 models match me (2D/1ND)
MCT_410 |  | DETECTED | 0.92 | Severity 3 corrosion detected on the shutoff valve body and connection nut, showing raised, chalky green and white crusted buildup. | NOT_DETECTED | 0.9 | The toilet supply valve and pipe show only light surface oxidation and dust accumulation, which is consistent with severity 2. The escutcheon plate shows some surface rust, but the eligible plumbing components themselves do not exhibit raised, chalky, or crusted corrosion buildup. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised, chalky buildup. | DETECTED | Sev 3: green verdigris on the supply riser and at the angle stop body. | 2/3 models match me (2D/1ND)
MCT_411 |  | NOT_DETECTED | 0.95 | Heavy corrosion is confined to the ineligible escutcheon plate, while the eligible shutoff valve and supply line show only minor tarnish and dust (severity 0-1). | NOT_DETECTED | 0.9 | The visible plumbing components, including the shutoff valve and supply line, show only minor surface discoloration and dust accumulation, which are consistent with severity 1 or 2, rather than the raised, chalky, or crusted buildup required for severity 3. | NOT_DETECTED | 0.95 | No raised or crusted corrosion on visible plumbing components. | NOT_DETECTED | Sev 1-2: chrome angle stop body is mostly clean; some dust at the wall escutcheon. | unanimous (0D/3ND)
MCT_412 |  | DETECTED | 0.95 | Severity 3 chalky green corrosion is visible covering the eligible shutoff valve body. | NOT_DETECTED | 0.9 | The shutoff valve body shows minor flat patina (severity 2) and the escutcheon plate shows surface rust, but the eligible plumbing components (valve body and supply line) lack the raised, chalky, or crusted texture required for severity 3. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and compression nut with raised, crusted texture. | NOT_DETECTED | Sev 2: angle stop body shows light grey dust/scale, no oxide pigment. | 1/3 models match me (2D/1ND)
MCT_413 |  | NOT_DETECTED | 0.9 | Eligible plumbing components, including the shutoff valve, supply lines, and stub-out pipe, show only minor surface discoloration or flat oxidation (severity 1-2) without raised, crusted corrosion buildup. | DETECTED | 0.95 | The shutoff valve and the stub-out pipe connection exhibit significant, raised, and crusted green corrosion product, which is characteristic of severity 3 major corrosion at a critical connection point. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and compression nut with raised, crusted buildup. | NOT_DETECTED | Sev 2: chrome angle stop body has black grime but no oxide. | 1/3 models match me (2D/1ND)
MCT_414 |  | DETECTED | 0.95 | Severity 3 corrosion detected: raised, crusted green oxide buildup on the compression nut connecting the flexible supply line to the shutoff valve. | DETECTED | 0.95 | The shutoff valve body and the compression nut connection point exhibit severity 3 major corrosion, characterized by visible, raised, and chalky green oxide buildup on the metal surface. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised, crusted texture. | DETECTED | Sev 3: clear green verdigris at the supply connection ferrule and angle stop body. | unanimous (3D/0ND)
MCT_415 |  | NOT_DETECTED | 0.95 | The visible toilet shutoff valve, supply line, and connections show no signs of major corrosion (severity 0-1). The components appear generally clean with only minor dust or possible paint residue, lacking any raised or crusted oxide buildup. | NOT_DETECTED | 0.95 | The visible toilet supply line, shutoff valve, and connection points appear to be in good condition with no signs of raised, chalky, or crusted corrosion; any minor discoloration is consistent with surface dust or light tarnish (severity 1-2). | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised green buildup. | DETECTED | Sev 3 borderline: dark oxide/rust at the visible angle stop body behind the supply line. | 1/3 models match me (1D/2ND)
MCT_416 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the shutoff valve body, evidenced by thick, chalky green oxide buildup covering the majority of the eligible component. | DETECTED | 0.95 | The toilet shutoff valve body exhibits severity 3 major green corrosion, which is clearly visible as a thick, saturated oxide buildup covering the majority of the valve body surface. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with green buildup at connection point. | DETECTED | Sev 3: clear green verdigris on the angle stop body. | unanimous (3D/0ND)
MCT_417 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the eligible shutoff valve body, showing raised, chalky, and crusted oxidation buildup covering a significant portion of the component. | DETECTED | 0.95 | The shutoff valve body exhibits severity 3 corrosion, characterized by visible, chalky, and crusted oxide buildup covering the majority of the valve body and extending to the connection points. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised, crusted texture. | DETECTED | Sev 3: green verdigris on the angle stop body. | unanimous (3D/0ND)
MCT_418 |  | DETECTED | 0.95 | Severity 3 corrosion detected: thick, saturated green oxide buildup covers the majority of the toilet supply line and shutoff valve body. | NOT_DETECTED | 0.9 | The toilet supply line and shutoff valve exhibit a flat green patina, which is classified as severity 2. There is no evidence of raised, chalky, or crusted corrosion buildup on the connection points or the body of the components. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and supply line, visible green corrosion at connection point. | DETECTED | Sev 4: heavy green/black oxide encrustation covering the entire supply riser. | 2/3 models match me (2D/1ND)
MCT_419 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the shutoff valve body and stub-out pipe at the wall, showing thick, chalky green verdigris buildup covering the majority of the components. | DETECTED | 0.95 | The toilet shutoff valve body and the stub-out pipe show severity 3 green corrosion, characterized by a thick, chalky, and saturated oxide buildup covering the majority of the valve body and the connection point at the wall. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with green buildup at connection point. | DETECTED | Sev 3: green verdigris on the angle stop body. | unanimous (3D/0ND)
MCT_420 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the shutoff valve body and wall pipe stub-out, evidenced by thick, chalky, green and white crusted oxide buildup covering the majority of these eligible components. | DETECTED | 0.95 | The shutoff valve body and associated compression nut exhibit severity 3 corrosion, characterized by visible, rough, and discolored oxide buildup on the metal surface at the connection point. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and compression nuts with raised, crusted texture. | DETECTED | Sev 3: green verdigris on the angle stop body and compression nuts. | unanimous (3D/0ND)
MCT_421 |  | NOT_DETECTED | 0.95 | Heavy corrosion is confined to the ineligible escutcheon plate at the wall, while the eligible shutoff valve body, compression nuts, and supply line appear clean with only minor tarnish (Severity 1). | DETECTED | 0.95 | The escutcheon plate and the wall-side connection of the toilet supply valve exhibit significant, raised, and crusted corrosion buildup, which is a severity 3 condition on an eligible plumbing component. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and connection point, visible crusted buildup. | DETECTED | Sev 3: green verdigris on the angle stop body. | 2/3 models match me (2D/1ND)
MCT_422 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the shutoff valve body, showing thick, chalky green buildup covering the majority of the component and its connection points. | DETECTED | 0.95 | The toilet shutoff valve body exhibits severity 3 major corrosion, characterized by visible green oxidation buildup and crusting on the valve body and connection point. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and compression nut with raised, crusted texture. | DETECTED | Sev 4: heavy green oxide covering entire supply riser and angle stop body. | unanimous (3D/0ND)
MCT_423 |  | NOT_DETECTED | 0.95 | Eligible components including the valve body, supply line, and fittings are clean (severity 0-1). The white substance on the ineligible handle and escutcheon appears to be paint or sealant, not corrosion. | NOT_DETECTED | 0.95 | The visible white substance on the shutoff valve and escutcheon is consistent with paint or sealant residue rather than corrosion product. The underlying metal components appear to be in good condition without signs of raised, chalky, or crusted oxidation. | NOT_DETECTED | 0.95 | White substance on valve handle, no raised corrosion on eligible components | NOT_DETECTED | Sev 2: angle stop has white mineral/scale deposits; no oxide pigment. | unanimous (0D/3ND)
MCT_424 |  | DETECTED | 0.9 | Severity 3 corrosion detected on the eligible shutoff valve body, evidenced by raised green and brown crusty buildup on the valve and packing area. | NOT_DETECTED | 0.9 | The shutoff valve body shows minor flat discoloration and surface tarnish (severity 2), but lacks the raised, chalky, or crusted texture required for severity 3 or 4 classification. | DETECTED | 0.95 | Green corrosion on compression nut at toilet connection | DETECTED | Sev 3: green verdigris on angle stop body and compression nuts. | 2/3 models match me (2D/1ND)
MCT_425 |  | DETECTED | 0.9 | Severity-3 raised, chalky green corrosion buildup is visible on the compression nut connecting the supply line to the shutoff valve. | DETECTED | 0.95 | The toilet shutoff valve and its connection point exhibit severity 3 major corrosion, characterized by visible green oxidation and crusted buildup at the compression nut and valve body. | DETECTED | 0.95 | Raised, crusted corrosion on shutoff valve and pipe connection. | DETECTED | Sev 3 borderline: green verdigris at the angle stop body and rust on the floor flange. | unanimous (3D/0ND)
MCT_426 |  | NOT_DETECTED | 0.95 | Heavy rust is confined to the ineligible escutcheon plate; the eligible shutoff valve body shows only flat green patina (severity 2) and the supply line has minor surface dirt, with no severity-3 crusted buildup on functional plumbing. | DETECTED | 0.95 | The toilet shutoff valve body and the connection point at the wall exhibit severity 3 corrosion, characterized by visible green oxidation and crusted buildup on the valve body and the metal fitting at the wall connection. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and connection point with raised, crusted texture. | DETECTED | Sev 3: green verdigris on the angle stop body. | 2/3 models match me (2D/1ND)
MCT_427 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the eligible shutoff valve body, showing thick, crusted green buildup covering the majority of the valve and connection points. | DETECTED | 0.95 | The toilet shutoff valve body and the connection point at the supply line exhibit severity 3 major green corrosion, characterized by visible, saturated oxide buildup on the valve body and the crimp collar of the supply line. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and connection point with green corrosion buildup. | DETECTED | Sev 3: green verdigris on the angle stop body. | unanimous (3D/0ND)
MCT_428 |  | DETECTED | 0.92 | Severity 3 green crusty corrosion buildup is visible on the upper metal ferrule of the flexible supply line at the toilet tank connection. | DETECTED | 0.95 | Severity 3 corrosion is present at the connection point between the flexible supply line and the toilet tank, characterized by visible, textured, and discolored oxide buildup on the metal crimp collar and adjacent braided hose. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and connection nut with raised, crusted texture. | DETECTED | Sev 3: green verdigris/oxide on the supply connection and dark oxide on the angle stop body. | unanimous (3D/0ND)
MCT_429 |  | NOT_DETECTED | 0.9 | Heavy corrosion is confined to the ineligible escutcheon plate at the wall; the eligible copper wall pipe shows only a flat green patina (severity 2) and the valve body and supply line are free of major corrosion. | NOT_DETECTED | 0.9 | The visible plumbing components, including the shutoff valve and supply line, show only minor surface discoloration and flat patina (severity 2 or less). The white material on the tank connection nut is sealant or plastic residue, not corrosion. | NOT_DETECTED | 0.95 | Flat patina on copper pipe, no raised corrosion on eligible components | DETECTED | Sev 3: clear green verdigris on the angle stop body. | hand-overrides unanimous (0D/3ND)
MCT_430 |  | NOT_DETECTED | 0.9 | The visible shutoff valve and supply line appear clean with only possible dust or light tarnish (severity 0-1); no raised or crusted corrosion buildup is present on eligible plumbing components. | NOT_DETECTED | 0.85 | The visible plumbing components, including the shutoff valve and supply line, appear to be in good condition with no signs of raised, chalky, or crusted corrosion. Any discoloration present is consistent with minor surface tarnish or environmental grime (severity 1-2). | DETECTED | 0.95 | Raised, crusted corrosion on shutoff valve body and connection point. | DETECTED | Sev 3 borderline: green oxide visible on the angle stop body at the wall. | 1/3 models match me (1D/2ND)
MCT_431 |  | NOT_DETECTED | 0.95 | The copper stub-out pipe shows flat tarnish and white paint or mud splatter (severity 1-2), and the brass shutoff valve has a flat patina (severity 2), with no raised, chalky, or crusted corrosion buildup on any eligible plumbing components. | NOT_DETECTED | 0.9 | The visible plumbing components, including the shutoff valve and supply line, show only minor surface tarnish or discoloration (severity 2) rather than the raised, chalky, or crusted buildup required for severity 3 or 4. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body; raised, crusted rust covering majority. | DETECTED | Sev 3: brass angle stop body shows oxide build-up; visible green at the supply ferrule. | 1/3 models match me (1D/2ND)
MCT_432 |  | NOT_DETECTED | 0.9 | Visible plumbing components including the shutoff valve, braided supply line, and stub-out pipe show only minor conditions (severity 1-2). The stub-out pipe exhibits flat green patina without raised or crusted buildup, and the braided line is covered in dust. | NOT_DETECTED | 0.95 | The visible plumbing components, including the shutoff valve and supply line, show only surface dust and minor tarnish (severity 1-2). There is no evidence of raised, chalky, or crusted corrosion at the connection points or on the pipe bodies. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised, crusted texture. | NOT_DETECTED | Sev 2: galvanized angle stop body has grey patina/dust, no oxide pigment. | 2/3 models match me (1D/2ND)
MCT_433 |  | DETECTED | 0.9 | Severity-3 corrosion detected on the toilet shutoff valve and supply line connection, evidenced by raised, chalky green oxide buildup. | DETECTED | 0.95 | The toilet shutoff valve and its connection points exhibit clear, raised, and chalky green corrosion buildup, consistent with severity 3, particularly at the valve body and compression nut area. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body; raised, crusted buildup at connection point. | DETECTED | Sev 3: green verdigris on the angle stop body. | unanimous (3D/0ND)
MCT_434 |  | DETECTED | 0.95 | Severity 3 corrosion detected: the shutoff valve body is covered in a thick, chalky green oxide buildup (verdigris) over its majority. | DETECTED | 0.95 | The toilet shutoff valve body exhibits significant green oxidation and crusting, which is a severity 3 condition on an eligible plumbing component. | NOT_DETECTED | 0.95 | Light tarnish on valve body; no raised or crusted corrosion. | DETECTED | Sev 3: green verdigris on the angle stop body. | 2/3 models match me (2D/1ND)
MCT_435 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the eligible shutoff valve body, evidenced by thick, chalky green verdigris buildup covering the majority of the component and its connection points. | DETECTED | 0.95 | The shutoff valve body shows significant green oxidation and crusting at the connection points and valve packing, which constitutes severity 3 corrosion. While the escutcheon is also heavily rusted, the valve body itself is clearly affected. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and connection point with raised, crusted texture. | DETECTED | Sev 4: heavy green verdigris and orange rust on angle stop body and escutcheon. | unanimous (3D/0ND)
MCT_436 |  | DETECTED | 0.92 | Severity 3 chalky green corrosion buildup is visible on the metal supply pipe stub-out between the wall escutcheon and the shutoff valve body. | DETECTED | 0.95 | The shutoff valve stub-out connection shows clear green, chalky corrosion buildup at the junction with the wall escutcheon, which constitutes a severity 3 condition on an eligible plumbing component. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and compression nut with raised, crusted texture. | DETECTED | Sev 3: green verdigris visible on the angle stop at center. | unanimous (3D/0ND)
MCT_437 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the metal supply pipe stub-out and valve connection point, showing raised, chalky green and white oxide buildup. | DETECTED | 0.95 | The toilet supply shutoff valve and the connection to the stub-out pipe exhibit severity 3 corrosion, characterized by visible, chalky, and crusted green oxide buildup at the threaded connection point and valve body. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and pipe, raised and crusted texture. | DETECTED | Sev 3: green verdigris on the supply riser/angle stop body at the ceiling-mounted connection. | unanimous (3D/0ND)
MCT_438 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the eligible shutoff valve body, showing raised, chalky green verdigris buildup covering a significant portion of the component. | DETECTED | 0.95 | The shutoff valve body and the connection point at the wall stub-out exhibit severity 3 corrosion, characterized by visible, chalky, and crusted green and brown oxide buildup on the valve body and the surrounding wall connection area. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and connection point, with raised and crusted texture. | DETECTED | Sev 4: heavy orange rust and green verdigris encrustation on the angle stop body. | unanimous (3D/0ND)
MCT_439 |  | NOT_DETECTED | 0.95 | Visible plumbing components, including the shutoff valve and connection nuts, show only minor tarnish or dust (severity 0-2). The discoloration on the flexible supply line appears to be staining of the vinyl material, not metal corrosion. | NOT_DETECTED | 0.95 | The visible plumbing components, including the shutoff valve and supply line, show only minor surface discoloration and staining consistent with severity 1-2. There is no evidence of raised, chalky, or crusted corrosion at the connection points or on the component bodies. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and compression nut with visible crusted buildup. | NOT_DETECTED | Sev 2: galvanized angle stop body has grey patina/dust only, no oxide pigment. | 2/3 models match me (1D/2ND)
MCT_440 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the shutoff valve body, which exhibits thick, chalky, crusted buildup covering the majority of the component. | DETECTED | 0.95 | The flexible supply line shows a significant area of saturated, crusted rust buildup on the metal braiding, and the shutoff valve body exhibits heavy, chalky green corrosion product, both meeting severity 3 criteria. | DETECTED | 0.95 | Raised, crusted corrosion on flexible supply line near connection point. | DETECTED | Sev 3: orange rust streaking on the supply riser at the bottom, with corrosion at the angle stop body. | unanimous (3D/0ND)
MCT_441 |  | DETECTED | 0.9 | Severity 3 chalky green corrosion buildup is visible on the eligible shutoff valve body at the packing nut connection behind the handle. | DETECTED | 0.95 | The toilet shutoff valve body exhibits severity 3 corrosion, characterized by visible green oxide buildup and crusting at the valve packing and connection points. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with green buildup at connection point. | DETECTED | Sev 3: green verdigris on the angle stop body. | unanimous (3D/0ND)
MCT_442 |  | DETECTED | 0.92 | Severity 3 corrosion detected on the braided metal supply line and lower connection fitting, showing thick, saturated dark oxidation buildup. The adjacent escutcheon plate is also heavily rusted. | DETECTED | 0.95 | The shutoff valve body and the connection point at the wall exhibit severe, crusted, and raised corrosion (severity 3-4), with significant oxidation buildup covering the valve assembly. | DETECTED | 0.95 | Severity 3 corrosion on metal supply pipe and shutoff valve, visible crusted buildup. | DETECTED | Sev 3: heavy orange rust encrustation at the angle stop body/wall escutcheon (on the metal body itself). | unanimous (3D/0ND)
MCT_443 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the shutoff valve body, showing thick, chalky green verdigris buildup covering a significant portion of the component. | DETECTED | 0.95 | The toilet shutoff valve body exhibits severity 3 major corrosion, characterized by visible green oxidation buildup and crusting on the valve body and connection points. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with green crusted buildup. | DETECTED | Sev 3: green verdigris on the angle stop body. | unanimous (3D/0ND)
MCT_444 |  | DETECTED | 0.9 | Severity 3 corrosion detected: visible green, crusted oxide buildup on the connection nut where the shutoff valve meets the wall pipe. | NOT_DETECTED | 0.9 | The toilet shutoff valve and supply connection show only minor, flat surface discoloration (severity 2) consistent with aging brass/metal, lacking the raised, chalky, or crusted texture required for severity 3. | NOT_DETECTED | 0.95 | No raised or crusted corrosion on visible plumbing components. | NOT_DETECTED | Sev 1: angle stop body is clean chrome with minor patina; light green at top is reflection/dirt. | 2/3 models match me (1D/2ND)
MCT_445 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the shutoff valve body, showing thick, chalky green buildup covering the valve and packing nut area. | DETECTED | 0.95 | The toilet shutoff valve body exhibits severity 3 major corrosion, characterized by visible, chalky, and crusted green oxide buildup covering the majority of the valve body and its connection points. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with green buildup. | DETECTED | Sev 3: clear green verdigris on the angle stop body. | unanimous (3D/0ND)
MCT_446 |  | NOT_DETECTED | 0.95 | The flexible supply line has green and white paint or residue on its surface, but no raised, crusted oxide buildup or corrosion is visible on the line, valve, or connection points. | NOT_DETECTED | 0.95 | The visible plumbing components, including the flexible supply line and shutoff valve, show no signs of severity 3 or 4 corrosion. The green markings on the supply line are paint or residue, not corrosion, and the metal surfaces are otherwise clean. | DETECTED | 0.95 | Severity 3 corrosion on flexible supply line with green buildup at connection point. | NOT_DETECTED | Sev 1-2: green patch on the braided supply hose mid-shaft is paint/adhesive; the angle stop body at the wall is clean chrome. | 2/3 models match me (1D/2ND)
MCT_447 |  | NOT_DETECTED | 0.9 | The shutoff valve body and wall stub-out show a flat, dull patina (severity 2) with surface dust, lacking the raised, chalky, or crusted oxide buildup required for major corrosion. | DETECTED | 0.95 | The toilet shutoff valve body exhibits severity 3 major corrosion, characterized by visible, chalky, and crusted oxide buildup covering the majority of the valve body and extending to the connection point. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and connection point, visible crusted buildup. | DETECTED | Sev 3-4: heavy dark grey/black oxide encrustation on the angle stop body and stem. | 2/3 models match me (2D/1ND)
MCT_448 |  | DETECTED | 0.95 | Severity-3 corrosion detected on the angle stop valve body, wall supply pipe, and the T-valve adapter at the toilet tank, evidenced by raised, crusty green and grey oxidation buildup on the metal surfaces and connections. | DETECTED | 0.95 | The toilet shutoff valve and associated connection points exhibit severity 3 major corrosion, characterized by visible green oxidation buildup and crusting on the valve body and connection fittings. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and connection point, visible crusted buildup. | DETECTED | Sev 3: clear green verdigris on the angle stop body at the connection. | unanimous (3D/0ND)
MCT_449 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the shutoff valve body and wall stub-out beneath the toilet tank, showing thick, crusty, dark buildup. | DETECTED | 0.95 | The toilet shutoff valve and the wall-mounted escutcheon/flange assembly exhibit severe, crusted, and raised oxidation buildup, consistent with severity 3 corrosion at a critical connection point. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve and supply line with raised, crusted texture. | DETECTED | Sev 3-4: heavy orange rust on the supply riser at the wall stub-out. | unanimous (3D/0ND)
MCT_450 |  | NOT_DETECTED | 0.9 | Visible plumbing components including the supply line and tank connection show no major corrosion. The shutoff valve and wall pipe have a thick white/pale buildup, consistent with mineral deposits or paint/sealant, lacking the red/brown/green oxide pigment required for severity-3 corrosion. | NOT_DETECTED | 0.95 | The visible plumbing components, including the toilet supply line, compression nut, and shutoff valve, appear to be in good condition with no signs of raised, chalky, or crusted corrosion. The white substance visible on the shutoff valve and wall pipe is consistent with paint or sealant, not corrosion. | NOT_DETECTED | 0.95 | No raised or crusted corrosion on visible plumbing components. | NOT_DETECTED | Sev 1-2: chrome valve body with light grime; gum wrapper stuck to the braided hose; no oxide pigment on metal. | unanimous (0D/3ND)
MCT_451 |  | NOT_DETECTED | 0.95 | Heavy rust is confined to the ineligible escutcheon plate, while the eligible shutoff valve body and supply line show only dust and light tarnish (severity 0-2). | NOT_DETECTED | 0.9 | The shutoff valve body and handle show surface oxidation and mineral buildup, but the corrosion is not raised, chalky, or crusted to a severity 3 level on the eligible valve body components. The escutcheon plate shows significant rust, but this is an ineligible component. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and compression nut, visible crusted buildup. | DETECTED | Sev 3: heavy green verdigris encrustation on the angle stop body / escutcheon ring at the wall stub-out. | 1/3 models match me (1D/2ND)
MCT_452 |  | DETECTED | 0.95 | Severity 3 chalky green verdigris buildup is visible on the shutoff valve body and packing nut. | DETECTED | 0.95 | The toilet shutoff valve body and compression nut exhibit clear, saturated green corrosion buildup at the connection points, consistent with severity 3. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and connection point, visible green corrosion product. | DETECTED | Sev 3: clear green verdigris on the angle stop body and stem at the wall. | unanimous (3D/0ND)
MCT_453 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the metal supply pipe stub-out and valve body behind the toilet, evidenced by raised, chalky green oxidation buildup. | DETECTED | 0.95 | The toilet shutoff valve body and the stub-out pipe connection exhibit severity 3 major corrosion, characterized by visible, thick, and chalky green oxide buildup at the threaded connection point and valve body. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and compression nut with raised green corrosion product. | DETECTED | Sev 3: bright teal/green verdigris on the angle stop body at the wall stub-out. | unanimous (3D/0ND)
MCT_454 |  | DETECTED | 0.98 | Severity 3+ corrosion detected on the toilet shutoff valve and supply line, evidenced by heavy, thick, chalky green verdigris buildup covering the valve body and connections. | DETECTED | 0.95 | The toilet shutoff valve and the connected supply line show severity 3 major corrosion, characterized by thick, chalky, and crusted green and white oxide buildup at the valve body and connection points. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve and supply line connection, visible crusted buildup. | DETECTED | Sev 4: extensive green verdigris on the angle stop body and supply riser at the floor stub. | unanimous (3D/0ND)
MCT_455 |  | DETECTED | 0.95 | Severity 3 chalky green corrosion buildup visible on the shutoff valve body and lower supply line connection. | NOT_DETECTED | 0.9 | The shutoff valve and supply line show minor flat green patina and discoloration, which is consistent with severity 2, lacking the raised, chalky, or crusted texture required for severity 3. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and connection point with raised green corrosion. | DETECTED | Sev 3: green verdigris on the angle stop body at the floor stub-out. | 2/3 models match me (2D/1ND)
MCT_456 |  | DETECTED | 0.92 | Severity 3 thick, chalky, crusted buildup is present on the shutoff valve body at the wall connection point. | DETECTED | 0.95 | The toilet shutoff valve shows severity 3 major corrosion, characterized by significant white, chalky, and crusted mineral/oxide buildup at the wall connection point and valve body. | NOT_DETECTED | 0.95 | Light tarnish on valve body, no raised or crusted corrosion. | NOT_DETECTED | Sev 2: angle stop body is clean chrome with light grey scale at the wall stub; small white mineral spot at top, no oxide pigment. | 1/3 models match me (2D/1ND)
MCT_457 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the eligible shutoff valve body and wall stub-out pipe, evidenced by raised, chalky, greenish-white crusted buildup covering the components. | NOT_DETECTED | 0.9 | The shutoff valve and supply pipe show flat, minor surface oxidation and dust accumulation (severity 2). The heavy corrosion is confined to the ineligible wall escutcheon plate. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised, crusted texture. | DETECTED | Sev 3: heavy orange rust on the wall escutcheon and green verdigris on the angle stop body and supply riser stub. | 2/3 models match me (2D/1ND)
MCT_458 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the eligible shutoff valve body, showing raised, chalky green and brown oxide buildup around the packing nut and connection points. | DETECTED | 0.95 | Severity 3 corrosion is present on the shutoff valve body and connection point, characterized by visible green oxidation and crusty buildup at the valve packing and threaded connection to the supply line. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised, crusted buildup. | DETECTED | Sev 3: orange rust and green verdigris on the angle stop body at the wall stub-out. | unanimous (3D/0ND)
MCT_459 |  | DETECTED | 0.9 | Severity 3 corrosion detected on the shutoff valve body and wall pipe stub-out, evidenced by thick, saturated green oxide buildup covering the majority of these eligible components. | NOT_DETECTED | 0.9 | The visible plumbing components, including the shutoff valve and supply line connections, show only minor surface tarnish or discoloration (severity 2) rather than the raised, chalky, or crusted buildup required for severity 3. | NOT_DETECTED | 0.95 | No raised or crusted corrosion on visible plumbing components. | DETECTED | Sev 3: green verdigris on the angle stop body at the floor stub. | 1/3 models match me (1D/2ND)
MCT_460 |  | DETECTED | 0.85 | Severity 3 corrosion detected on the compression nut connecting the flexible supply line to the shutoff valve, showing visible red-brown rust buildup at the connection point. | DETECTED | 0.95 | The toilet shutoff valve and its connection point exhibit severity 3 major corrosion, characterized by visible, chalky, and crusted oxide buildup on the valve body and compression nut, accompanied by significant staining on the adjacent wall. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and connection point, visible crusted buildup. | DETECTED | Sev 3: orange rust streak on tile is from the angle stop joint where corrosion has stained downward; angle stop body shows oxide. | unanimous (3D/0ND)
MCT_461 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the eligible shutoff valve body and stub-out pipe, showing raised, chalky green oxide buildup covering a significant portion of the components. | DETECTED | 0.95 | The toilet shutoff valve body and compression nut exhibit severity 3 major corrosion, characterized by visible, thick, chalky green oxide buildup covering the majority of the valve body and the connection point. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and compression nut with raised, crusted texture. | DETECTED | Sev 3: green verdigris on the angle stop body at the wall stub. | unanimous (3D/0ND)
MCT_462 |  | NOT_DETECTED | 0.95 | Heavy rust is confined to the ineligible escutcheon plate at the wall; eligible shutoff valve body, supply line, and connector nuts show only minor tarnish (Severity 0-2). | NOT_DETECTED | 0.95 | The visible plumbing components, including the flexible supply line and the shutoff valve body, are in good condition. The heavy rust observed is confined to the wall escutcheon plate, which is an ineligible component. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body at wall connection with raised, crusted texture. | DETECTED | Sev 3: orange rust on the wall pipe stub at the angle stop joint. | 1/3 models match me (1D/2ND)
MCT_463 |  | DETECTED | 0.9 | Severity 3 corrosion detected: raised, chalky green buildup is visible on the shutoff valve body and packing nut. | DETECTED | 0.95 | The toilet shutoff valve body exhibits severity 3 major corrosion, characterized by visible, chalky, and crusted green oxide buildup covering the majority of the valve body and the connection point. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised, crusted texture. | DETECTED | Sev 3: clear green verdigris encrustation on the angle stop body. | unanimous (3D/0ND)
MCT_464 |  | NOT_DETECTED | 0.95 | Visible rust is confined to the ineligible escutcheon plate. The eligible copper supply pipe shows only a flat green patina (severity 2) without raised or crusted buildup. | NOT_DETECTED | 0.9 | The visible plumbing pipe shows only flat, smooth surface discoloration (severity 2), and the rust present is confined to the ineligible escutcheon plate. | NOT_DETECTED | 0.9 | Flat patina on pipe, rust on escutcheon only | DETECTED | Sev 3: green verdigris coating the supply riser, plus orange rust at the wall escutcheon. | hand-overrides unanimous (0D/3ND)
MCT_465 |  | NOT_DETECTED | 0.95 | The escutcheon plate shows rust, but it is an ineligible component. The eligible shutoff valve body and stub-out pipe exhibit only flat, dark tarnish and patina (severity 2) without any raised, chalky, or crusted oxide buildup. | NOT_DETECTED | 0.9 | The shutoff valve body shows flat, smooth surface discoloration consistent with severity 2 patina rather than raised or crusted corrosion. The supply line crimp collars and connections are free of major oxide buildup. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised, crusted texture. | DETECTED | Sev 3: green verdigris on the angle stop body and at the wall stub joint; orange rust on the escutcheon. | 1/3 models match me (1D/2ND)
MCT_466 |  | DETECTED | 0.95 | Severity-3 corrosion detected: the shutoff valve body exhibits thick, chalky green and white verdigris buildup covering a majority of its surface. | DETECTED | 0.95 | The toilet shutoff valve body exhibits severity 3 major corrosion, characterized by visible, chalky, and crusted green and orange oxide buildup covering the majority of the valve body and extending to the connection point. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised, crusted texture. | DETECTED | Sev 3-4: heavy green verdigris and orange rust on the angle stop body and compression nut. | unanimous (3D/0ND)
MCT_467 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the shutoff valve body, showing thick, crusted green and white oxide buildup. | DETECTED | 0.95 | The toilet shutoff valve body exhibits severity 3 major corrosion, characterized by visible green oxidation buildup and crusting on the valve body and connection point. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised, crusted texture. | DETECTED | Sev 4: heavy green verdigris encrustation on the angle stop body / escutcheon at the floor. | unanimous (3D/0ND)
MCT_468 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the shutoff valve body, evidenced by raised, chalky green oxidation buildup covering the valve and packing nut area. | DETECTED | 0.95 | The toilet shutoff valve exhibits severity 3 major corrosion, characterized by visible green oxidation buildup and crusting on the valve body and connection point. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with green buildup at connection point. | DETECTED | Sev 3: green verdigris on the angle stop body at the floor stub-out. | unanimous (3D/0ND)
MCT_469 |  | DETECTED | 0.95 | Severity 3 corrosion detected on the eligible shutoff valve body, showing thick, chalky green buildup covering the majority of the component. | DETECTED | 0.95 | The shutoff valve body and the crimp collar connection point exhibit severity 3 major corrosion, characterized by visible, raised, and chalky green oxide buildup covering the majority of the valve body and the connection interface. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised green corrosion product. | DETECTED | Sev 3-4: green verdigris on the angle stop body and green stain on the floor below. | unanimous (3D/0ND)
MCT_470 |  | DETECTED | 0.95 | Severity 3 corrosion detected: thick, crusted green oxide buildup visible on the shutoff valve body at the packing nut and threaded connection point. | DETECTED | 0.95 | The shutoff valve body and its connection point exhibit severity 3 major corrosion, characterized by visible, chalky, and crusted green oxide buildup on the valve packing and threaded connection area. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and connection point with green buildup. | DETECTED | Sev 3-4: black oxide and green verdigris encrustation on the angle stop body at the wall. | unanimous (3D/0ND)
MCT_471 |  | DETECTED | 0.92 | Severity 3 corrosion detected on the eligible shutoff valve body, showing green and white chalky, crusted oxidation buildup around the packing nut and supply line connection point. | DETECTED | 0.95 | The toilet shutoff valve body and its connection points exhibit severity 3 major corrosion, characterized by visible, chalky, and crusted green oxide buildup on the valve body and the compression nut connection. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body with raised, crusted buildup. | NOT_DETECTED | Sev 1-2: angle stop body is chrome with light grey scale at the joint; supply is white plastic; no oxide pigment. | hand-overrides unanimous (3D/0ND)
MCT_472 |  | NOT_DETECTED | 0.9 | Eligible plumbing components, including the shutoff valve and supply line, show only flat tarnish (severity 2) and peeling white paint. No raised, chalky, or crusted corrosion buildup (severity 3) is visible on the functional plumbing. | DETECTED | 0.95 | Severity 3 corrosion is present on the flexible supply line, specifically at the connection point near the toilet tank and along the mid-section of the hose, showing clear signs of raised, crusted, and saturated oxide buildup. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve and supply line connection with raised, crusted buildup. | NOT_DETECTED | Sev 2 borderline: supply riser is dirty/stained but the body itself shows no clear oxide pigment; black/brown is grime staining on wall and joint. | 1/3 models match me (2D/1ND)
MCT_473 |  | DETECTED | 0.98 | Severity 3 corrosion detected; the metal supply riser and shutoff valve body exhibit extensive, thick, chalky green verdigris buildup covering the majority of the components. | DETECTED | 0.95 | The toilet supply line and shutoff valve exhibit severity 3 major corrosion, characterized by thick, chalky, and crusted green oxidation buildup covering the majority of the supply riser and the valve body, particularly at the connection points. | DETECTED | 0.95 | Severity 3 corrosion on shutoff valve body and supply line with raised, crusted texture. | DETECTED | Sev 4: extensive bright green verdigris covering the entire supply riser and angle stop body. | unanimous (3D/0ND)